## The Cellar
SOUTH AFRICAN HERITAGE RESOURCES AGENCY
PROJECT NUMBER: SAHRA /HPM/07/2020
PROJECT NAME: MAINTENANCE OF THE CELLAR ON GOEDE RUST FARM
ESTIMATED CONTRACT DURATION: 4 WEEKS
Item No. | DESCRIPTION | UoM | QTY | RATE | TOTAL
A | PRELIMINARIES & GENERAL
Note:
The COVID-19 safety measures must be complied with. www.sacoronvirus.co.za
A full team of staff will not be allowed on site at the same time. The service provider must allow for a phased
programme for the completion of works to limit the number of employees on site, and submit to the Client
the number of employees that will be required for each of the trades and duration of completion per trade.
A draft programme of works is required to be submitted at the time of tender.
1 | Site Establishment | .
The service provider is to take into account all costs for the execution of the project including and not limited
to the list below, and shall provide to the Client a breakdown of costs when requested.
Due to Covid-19 restrictions in terms of number of people in an occupied space, the service provider must allow for
the work to be phased over the contract period.
2 | Contract Instructions
Contract Instructions issued on site must be recorded in writing by the Employer and which
copies is to be maintained on site by the contractor
3 | Labour record
At the end of each week the contractor shall provide to the Employer with a written record, in schedule form,
reflecting the number and description of local tradesmen and laboures employed by him on the works each day.
The register must identify local labour employed on the project . Certified copies of IDs and proof of address will be
requested.
4 | Plant record
At the end of each week the contractor shall provide to the Employer with a written record, in schedule form, reflecting
the number, type and capacity of all plant, excluding hand tools, currently used on the works.
5 | FINANCIAL ASPECTS
Interim Payments for unfixed materials
Before including the value of any unfixed materials and goods in his valuation for each interim certificate, the
Employer will require a certificate of ownership and cession of rights in favour of the Employer from the contractor
and from each and every subcontractor
6 | WORKMANSHIP AND MATERIALS
Testing of windows to ensure water tightness
As the windows are fixed they shall be glazed and prepared so that each window can be tested for water
tightness with water sprayed on by means of a 20mm hose pipe using adequate pressure. If the pressures proves
to be inadequate in the opinion of the Employer, then the pressure is to be boosted by means of compressed air
or other approved means. Each window section shall be tested under the supervision of the clerk of works and
approved for final acceptance of the fenestration.
7 | Warranty for design and materials
The contractor warrants and undertakes in favour to the Employer that:
Guarantees
The contractor shall obtain written guarantees where called for, adressed to the Employer,
from the firms supplying the materials or doing the work and deliver such guarantees
to the Employer
Notice before covering up
The contractor shall give notice to the Employer of his intention to
cover up any work or materials with earth or other material in order that the Employer
may inspect same before they are so covered.
8 | GENERAL
Copyright
The ownership of the copyright in and to all and any drawings, specifications, models and documents
delivered to the contractor and/or produced by or on behalf of the contractor in connectino with the works;
and the artistic character and/or artistic design of the works shall remain vested in and/or is hereby
assigned to the Employer by the contractor.
Confidentiality
The contractor shall treat all drawing, specifications, models, designs and documents of any nature
delivered to the contractor or produced on behalf of the contractor in connection of the works as being
confidential; will not directly or indirectly disclose or divulge to any person (except in sofar it may be
necessary in conncetion with the project) any information contained in the contract documents without
the previous written consent of the Employer; not copy and/or photograph repeat either wholly or in part
any of the contract documents referred to above (except insofar it may be necessary in connection with
the project); return to the Employer all contract documents issued herewith upon submission of the tender
and, upon completion of the works deliver to the Employer all contract documents of any nature pertaining
to the project.
9 | OCCUPATIONAL HEALTH AND SAFETY SPECIFICATIONS
Occupation health and safety sepcifications
Contractors are to allow for all further costs which they deem they are likely to incur in complying with
the Occupation Health and Safety Act 1993 and Construction Regulations 2003 as prepared by the
Department of Labour. Contractors are referred to the COVID-19 Health and Safety specifications.
TOTAL CARRIED TO SUMMARY
B | NO. 1
ALTERATIONS
Removal of Exisiting Work
Take out and make good accordingly
Taking out and removing sundry joinery work, fittings, etc
1 | Kitchen cupboard, frame | No. | 1
Hacking up/off and removing ceramic tiles including removing mortar bed or adhesive from concrete
or brickwork and preparing surfaces for new screed, plaster, tile finish, etc
2 | Walls tiles | m² | 13
Taking out and removing sanitary fittings, tanks, geysers, etc, including disconnecting from pipes,
traps, etc and making good floor and wall finishes (making good tiling and paintwork elsewhere)
3 | Ceramic kitchen sink | No. | 1
4 | Kitchen Sink Tap mixer | No. | 1
5 | Built-in bath 1400x700x390mm and taps | No. | 1
6 | Shower taps | No. | 2
7 | Shower rose | No. | 1
8 | 150L geyser | No. | 1
TOTAL CARRIED TO SUMMARY
C | NO. 2
BRICKWORK
1 | Repair cement screed at entrance of loft door. | m² | 1
2 | Built-in bath wall to fit 1700 x 640mm bath | m² | 2
TOTAL CARRIED TO SUMMARY
D | NO. 3
CONCRETE
Prepare surfaces accordingly for concrete walkway, including filling, layering, compacting.
The surface and fill must be checked by a qualified engineer and signed off.
1 | Walkway approx 1800m wide | m² | 206
TOTAL CARRIED TO SUMMARY
NO. 4
E | SITE CLEARANCE
All excess vegetation, materials from site clearance must be removed from site and disposed of
responsibly by the Contractor
1 | Cutting down of trees, branches, shrubs, and excess vegetation as identified by the client | Prov |  |  | 5000
TOTAL CARRIED TO SUMMARY
NO. 5
F | THATCHING
New thatching to exisiting structure.
1 | Supply and fit thatch with fire retardment complete, certification | Prov |  |  | 80000
TOTAL CARRIED TO SUMMARY
NO. 6
G | CARPENTRY & JOINERY
The following cupboard fittings are given as complete units i.e. the components of the units have not been given separately. Descriptions of such units shall, therefore, be deemed to include all components, assembling, housing, notching, glueing, blocking, planting-on and screwing with countersunk screws, edge strips, thermosetting plastic laminate, glass, ironmongery, metalwork, paint or varnish finishes, etc Prices are to include for all necessary filler pieces against walls etc
1 | Supply and fit new double bowl sink cupboard to match exisiting, three-door. | Prov |  |  | 6000
2 | Repair existing bathroom door by trimming 5mm and re-seal with approved wood seal | Item | 1
Landing and stairways to be designed for client's approval. Design and execution to be signed off by qualified
engineer.
3 | Design, supply and installation of Wooden stairway and landingwith rails. | Prov |  |  | 15000
4 | Supply and fit wooden loft door to match existing 1600x800 | No. | 1
TOTAL CARRIED TO SUMMARY
H | NO. 5
IRONMONGERY
| All materials supplied must be new and SABS-approved | Prov |  |  | 1000
1 | Hinges, locksets, handles
TOTAL CARRIED TO SUMMARY
I | NO. 6
TILING
User note:
Unless described as "fixed with adhesive to plaster (plaster elsewhere)" descriptions of tiling on brick or concrete walls, columns, etc shall be deemed to include 1:4 cement plaster backing and descriptions of tiling on concrete floors etc shall be deemed to include 1:3 plaster bedding
Tiling described as "fixed with adhesive on power floated concrete" shall be deemed to include for approved tiling key-coat
Ceramic, porcelain, marble and granite tiles are to be fixed and grouted with suitable adhesives and grouts as recommended by the manufacturer of the tiles
1 | Walls tiles
| White Ceramic Wall Tiles, Valencia Subway Bevelled Glossy White 200 x 100mm with matching waterproof grout | m² | 13
2 | Floor tiles
| Make allowance for R100/m². Sample to be provided for approval | m² | 15
TOTAL CARRIED TO SUMMARY
J | BILL NO. 7
PLUMBING AND DRAINAGE
All plumbing materials, fittings must be SABS-approved. Warranties/Guarantees must
be submitted to the Client.
1 | Supply and fit plumbing fixtures, geysers complete, drainage | Prov |  |  | 15000
2 | Double bowl kitchen sink Franke Nouveau With Waste Fittings NVN621 - 1160 x 460mm or similar
| approved to fit new kitchen cupboard | No. | 1
3 | Kitchen sink mixer tap Amalfi Jade Plus Chrome Sink Mixer TVJA7431/CH or similar approved | No. | 1
4 | White bath Shortland White Built-in Straight Bath 1700 x 740mm including waste fitting | No. | 1
5 | Bath/shower mixer tap Amalfi Jade Plus Chrome Bath/Shower Mixer Tap TVJA7400/CH | No. | 1
6 | Shower head ITD Chrome Zola Shower Rose Round S/S including matching arm | No. | 1
TOTAL CARRIED TO SUMMARY
K | NO. 8
ELECTRICAL WORK
User note:
Distribution boards etc
Rates for distribution boards etc are to include for busbars, jumpers, neutral bars, internal wiring and connections, circuit identification markers, control gear labels, circuit legend cards and working drawings
Switches, socket outlets, etc
Rates for switches, socket outlets, etc are to include for screwing to outlet boxes, connecting up and cover plates
1 | Supply and fit of electrical fixtures, connections | Prov |  |  | 15000
TOTAL CARRIED TO SUMMARY
L | BILL NO. 9
PAINTWORK
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces
Surfaces shall be thoroughly washed down and allowed to dry completely before any paint is applied. Blistered or peeling paint shall be completely removed and cracks shall be opened, filled with a suitable filler and finished smooth
Exterior Walls
Prepare exterior walls, fill cracks with SABS approved filler and make good. Paint to be applied according to manufacturers specifications
1 | Two coats White limewash paint to exterior walls, Fired Earth Walls 602570 or similar approved | m² | 540
Doors, Windows, Frames
Prepare accordingly, sand down to smooth finish and paint according to manufacturers specifications. Colour: Plascon Monsoon Lagoon G5-E1-1
2 | One coat wood primer and two coats oil-based paint to window frames | No. | 3
3 | Two coats oil-based paint to doors and door frames. | No. | 4
Shutters (exterior)
Prepare accordingly, sand down to smooth finish and paint according to manufacturers specifications. Colour: Plascon Monsoon Lagoon G5-E1-1
4 | Timber 800x600mm | No. | 3
Burglar Gates and Bars
Prepare accordingly. Apply one coat of rust-proof paint and one coat approved primer, and two coats of
oil-based approved Black paint
5 | Burglar gates | No. | 2
6 | Window bars | No. | 3
Interior Walls
Prepare interior walls, fills cracks with the SABS approved filler and make good. Paint to be applied according to
manufacturers specifications.
7 | Two coats approved washable paint to interior walls, White. | m² | 260
Loft Staircase and Landing
Prepare accordingly, sand down to smooth finish and paint according to manufacturers specifications. Colour: Plascon Monsoon Lagoon G5-E1-1
8 | Two coats oil-based paint | No. | 1
9 | Lof door 1600x800 and frame | No. | 1
TOTAL CARRIED TO SUMMARY

## Summary
SOUTH AFRICAN HERITAGE RESOURCES AGENCY
PROJECT NUMBER: SAHRA /HPM/07/2020
PROJECT NAME: MAINTENANCE OF THE CELLAR ON GOEDE RUST FARM
ESTIMATED CONTRACT DURATION: 4 WEEKS
ITEM | SUMMARY | AMOUNT
A | PRELIMINARIES & GENERAL
B | ALTERATIONS
C | BRICKWORK
D | CONCRETE
E | SITE CLEARANCE
F | THATCHING
G | CARPENTRY & JOINERY
H | IRONMONGERY
I | TILING
J | PLUMBING AND DRAINAGE
K | ELECTRICAL WORK
L | PAINTWORK
SUB TOTAL
CONTINGENCY @ 10%
TOTAL
VAT 15%
FINAL OFFER