## Katy's Cottage Pricing Schedule
SOUTH AFRICAN HERITAGE RESOURCES AGENCY
PROJECT NUMBER:SAHRA/HPM/08/2022
PROJECT NAME: RESTORATION OF KATY'S COTTAGE GOEDERUST FARMSTEAD,DAL JOSAFAT
ESTIMATED CONTRACT DURATION: 6 WEEKS
Item No. | DESCRIPTION | UoM | QTY | RATE | TOTAL
A | PRELIMINARIES & GENERAL
NOTE:
1 | SITE ESTABLISHMENT
The service provider is to take into account all costs for the execution of the project including
and not limited to the list below and shall provide to the Client a breakdown of costs when
| requested. | Item
2 | CONTRACT INSTRUCTIONS
Contract Instructions issued on site must be recorded in writing by the Employer and which
| copies is to be maintained on site by the contractor. | Item
3 | LABOUR RECORD
At the end of each week the contractor shall provide to the Employer with a written record,
in schedule form, reflecting the number and description of tradesmen and laboures
employed by him and all subcontractors on the works each day.The register must identify
local labour employed to the project. Certified copies of ID`s and proof of address will be
| requested. The template is for local labour employment is attached with the tender document. | Item
4 | PLANT RECORD
At the end of each week the contractor shall provide to the Employer with a written record, in
schedule form, reflecting the number, type, and capacity of all plant, excluding hand tools,
| currently used on the work. | Item
5 | FINANCIAL ASPECTS
Interim Payments for unfixed materials
Before including the value of any unfixed materials and goods in his valuation for each interim
certificate, the Employer will require a certificate of ownership and cession of rights in favour
| of the Employer from the contractor and from each and every subcontractor | Item
6 | WORKMANSHIP AND MATERIALS
Testing of windows to ensure water tightness
As the windows are fixed they shall be glazed and prepared so that each window can be tested
for water tightness with water sprayed on by means of a 20mm hose pipe using adequate pressure.
If the pressures proves to be inadequate in the opinion of the Employer, then the pressure is to be
boosted by means of compressed air or other approved means.
Each window section shall be tested under the supervision of the clerk of works and approved for
| final acceptance of the fenestration. | Item
The contractor warrants and undertakes in favour to the Employer that:
Guarantees
The contractor shall obtain written guarantees where called for, adressed to the Employer,
from the firms supplying the materials or doing the work and deliver such guarantee
to the Employer
Notice before covering up
The contractor shall give notice to the Employer of his intention to cover up any work or materials with
earth or other material in order that the Employer may inspect same before they are so covered.
7 | GENERAL
Copyright
The ownership of the copyright in and to all and any drawings, specifications, models and documents
delivered to the contractor and/or produced by or on behalf of the contractor in connection
with the works; and the artistic character and/or artistic design of the works shall remain vested
in and/or is hereby design of the works assigned to the Employer by the contractor.
CONFIDENTIALITY
The contractor shall treat all drawing, specifications, models, designs and documents of any
nature confidential; will not directly or indirectly disclose or divulge delivered to the contractor
or produced on behalf of the contractor in connection of the works as being to any person
(except in sofar it may be necessary in conncetion with the project) any information contained
in the contract documents without the previous written consent of the Employer; not copy
and/or photograph repeat either wholly or in part any of the contract documents referred to
above (except insofar it may be necessary in connection with the project); return to the
Employer all contract documents issued herewith upon submission of the tender and, upon
completion of the works deliver to the Employer all contract documents of any nature pertaining
to the project.
8 | OCCUPATIONAL HEALTH AND SAFETY SPECIFICATIONS
Occupation health and safety sepcifications
Contractors are to allow for all further costs which they deem they are likely to incur in
complying with the Occupational Health and Safety Act 1993 and Construction Regulations
2003 as prepared by the Department of Labour. Contractors are referred to the Health and
| Safety specifications. | Item
TOTAL CARRIED TO SUMMARY
B | NO. 1
ALTERATIONS
Removal of existing work
Take out and make good accordingly.
1 | Brick and mortar braai structure | m² | 12
Taking out and removing sundry,joinery works,fittings etc.
2 | Timber weather strips 900mm x 70mm | No. | 2
3 | Ironmongery, Rim-lock sets etc | No. | 5
Hacking up/off and removing ceramic tiles including removing mortar bed or adhesive from concrete
or brickwork and preparing surfaces for new screed, plaster, tile finish, etc
4 | Kitchen wall tiles | m² | 8
5 | Bathroom wall tiles | m² | 24
Taking out and removing sanitary fittings, tanks, geysers, etc, including disconnecting from pipes,
traps, etc and making good floor and wall finishes (making good tiling and paintwork elsewhere)
6 | Ceramic toilet pan and cistern | No. | 1
7 | Ceramic bath tub encased with brick and mortar | No. | 1
TOTAL CARRIED TO SUMMARY
No. 2
C | CONCRETE WORK
1. | Concrete walkway
| Prepare ground surface to and level. 20MPa concrete apron 900mmx75mm sloped from building. Edges to be rounded off with edging tool | m | 110
2 | Sewerage drain and septic tank cement lids 800mmx700mmx100mm | No. | 7
3 | Gully outlet cement lids 450mmx450mmx50mm | No. | 5
4 | Repair of sewerage and septic tank lid casement | m² | 1
TOTAL CARRIED TO SUMMARY
NO. 3
D | CARPENTRY & JOINERY
The following cupboard fittings are given as complete units i.e.the components of the
units have not been given seperately. Desriptions of such units, there for, be deemed
to include all components, assembling, housing, nothing,glueing,blocking,
planting-on, and screwing with countersunk screws, edge strips, ,thermosetting
plastic,laminate, glass, ironmongery, metalwork, paint or varnish finishes,etc. Prices
are to include for all necessary fiiller pieces against walls etc.
Meranti Weather Strips
1 | Timber weather strips 900mm x 100mm | No. | 2
Meranti window casements
2 | Meranti window casement 1110mm x 710mm | No. | 2
3 | Meranti window casement 850mm x 510mm | No. | 2
4 | Meranti window 1010mm x 710mm | No. | 1
5 | Meranti window casement 1580mm x 1225mm | No. | 1
6 | Swartland Col Timbers SK6 or similar Old Cape Dutch skirting Pine, 94mm x 22mm | m | 40
7 | 16mm shutterboard for sealing of interior of chimneys | m² | 2
Timber Shutters
Shutters to match existing on property, complete with hinge sets and locks
| 2000mm width x 2200mm length | No. | 4
| 1200mm width x 2200mm length | No. | 1
| 1000mm width x 1600mm length | No. | 3
JOINERY ITEMS
Budgetary Allowances
8 | Allow a budgetary amount of R 15,000.00 (Fifteen Thousand Rand) for the supply and installation | Item |  | 15000 | 15000
of kitchen cupboards, to client's specification
9 | Allow a budgetary allowance of R 5000 (Five Thousand Rand) for the repair of timber floors to match | Item |  | 5000 | 5000
exisiting
TOTAL CARRIED TO SUMMARY
W
NO.4
E | GLAZING
Glazing to timber frames with putty
1 | Clear window panes 245mm x 195mm x 3mm | No. | 115
2 | Frosted window panes 245mm x 195mm x 3mm | No. | 9
TOTAL CARRIED TO SUMMARY
NO. 5
F | IRONMONGERY
All materials supplied must be new and SABS-approved(hinges,locksets and handles)
HINGES, LOCKS
1 | Rimlock sets BBL Union with black metal door knobs complete | No. | 5
2 | Stayfast combination brass for windows approximately 300 mm or similar | No. | 8
3 | Casement fastner brass for windows CFB8C | No. | 8
4 | Safety gate locks BBL Expanda Wingbolt or similar | No. | 3
5 | Window casement hinges similar to existing -L-Shape 180mmx180mm Black | No. | 12
6 | Barrel bolts galvanised 100mm | No. | 2
7 | Repair of safety gate bottom hinge | No. | 1
BATHROOM FITTINGS
8 | 600mm long chrome plated towel rail with wall mounted brackets | No. | 1
9 | 1620mm long chrome plated shower rails with wall mounted brackets | No. | 1
SHOWER CURTAIN
| White shower curtain, water proof, including hooks to chrome rail | No. | 1
AWNINGS
10 | Swartland Duro Plastics door awnings 1200mm x 970mm black | No. | 6
bracket Graton Sheet, Bronze.
BLINDS
Persiana dim out window roller blinds, Dark Grey
11 | 2000mm wide x 2200mm length | No. | 4
12 | 1200mm wide x 2200mm length | No. | 1
13 | 1000mm wide x 1600mm length | No. | 3
TOTAL CARRIED TO SUMMARY
NO. 6
G | METAL WORK
GALVANIZED STEELWORK
BURGLAR BARS AND GATES
1 | 8mm round mildsteel burglar bar 970mmx600mm | No. | 1
2 | Safety gate 1290mmx895mm to match existing | No. | 1
TOTAL CARRIED TO SUMMARY
NO.7
H | TILING
User note:
Unless desribed as"fixed with adhesive to plaster(plaster elsewhere) descriptions of
tiling on brick or concrete walls,columns, etc shall be deemed to include 1:4 cement
plaster backing and descriptions of tiling on concrete floors etc. shall be deemed to
include1:3 plaster bedding.Tiling described as "fixed with adhesive on power floated
concrete"shall be deemed to include for approve tiling key-coat
Ceramic, porcelain,marble and granite tiles are to be fixed and groated with suitable
adhesives and grouts as recommended by the manufacturer of the tiles.
Wall tiles:
Kitchen splashback:
1 | Valencia Glossy White ceramic wall tiles 100mm x 200mm with maching grout | m² | 3
Bathroom wall:
2 | Valencia Glossy White ceramic wall tile 100mm x 200mm with matching waterproof grout | m² | 24
Bathroom Floor:
3 | 430x430x7mm Norah Beige matt ceramic floor tiles (or similar approved) and flush pointed with tinted waterproof grout | m² | 3
Floor Tiles Lounge & Bedroom
4 | Kilimanjaro Campsbay Natural Ecotec Matt Porcelain floor tile 660mm x 220mm Beige with matching grout | m² | 49
TOTAL CARRIED TO SUMMARY
NO. 8
I | PLUMBING AND DRAINAGE
All fittings and hardware to be SABS approved
Internal water supplies
Prices for all piping laid in ground, inspection chambers, etc. shall include for excavations, keeping free of water, distributing surplus material on site and backfilling in selected material (imported fill where required will be separately measured). Holes, chases, etc., are deemed to be included in the descriptions of the pipework
Fixing of pipes
Unless specifically otherwise stated, descriptions of pipes shall be deemed to include for fixing to walls etc. casting in, building in or suspending not exceeding 1m below suspension level
Sanitary Plumbing Installation
1 | Coral Dual Top Flush Toilet Suite including toilet seat and mechanism. White | No. | 1
2 | Constantia White Wall Mounted Basin and Floor Pedestal set 515x605x165mm | No. | 1
3 | Kwikot 150L 400 kpa geyser with drip tray complete | No. | 1
4 | Double kitchen sink stainless steel reversible CAM-1200mmx 900mm with waste fittings | No. | 1
5 | Kitchen sink mixer tap Amalfi Jade Plus Chrome Sink Mixer TVJA7431/CH | No. | 1
6 | Bathroom basin mixer tap Amalfi Jade Plus Chrome tap TVJA74400/CH | No. | 1
7 | Shower mixer tap Amalfi Jade Plus Chrome tap TVJA74400/CH | No. | 1
8 | Shower head ITD Chrome Zola Shower Rose Round S/S including matching arm | No. | 1
9 | Shower trap complete | No. | 1
Drainage
10 | Biptap, PVC stand and elbow 15mm x 900mm to exterior wall | No. | 1
11 | 110mm eye rod PVC | No. | 1
12 | Primary stop valve | No. | 1
13 | 15mm brass tap for laundry in kitchen complete | No. | 1
Testing
14 | Rinsing and testing of drainage and sewer system | Item | 1
Water Meters
15 | Prepaid water meters 15mm | No. | 5
16 | Fire Extinguishers
| Dry powder fire extinguishers 4,5kg | No. | 8
TOTAL CARRIED TO SUMMARY
NO. 9
J | ELECTRICAL
User note:
Distribution boards etc.
Rates for distribution boards etc are to include for bus bars,jumpers, neutral bars,
internal wiring and connections, circuit identification markers,control gear labels,
circuit legends cards and working drawings.
Switches,socket,outlet etc.
Rates for switches,socket outlets,etc.are to include for screwing to outlet boxes,
connecting up and cover plates.
Supply and fit of electrical fixures, connecting:SABS approved
1 | CHNT DB-12SK complete SABS approved: | No. | 1
2 x EBC 1P 10 A
3 x EBC 1P 20 A
2 x EBC 1P 32 A
1 x EBC 2 P 63 A
1 x 2P NL1 63 A
2 | 60 A Geyser isolator switch complete. | No. | 1
3 | 60 A stove isolator switch complete. | No. | 1
4 | Light fittings round 300mm complete (internal lights) | No. | 5
5 | Wall socket outlet 4x4 | No. | 7
6 | 2-way light switches | No. | 2
7 | 1-way light switches | No. | 2
8 | External light fittings, Bulkhead round with Grid. | No. | 9
9 | LED 20 W coolwhite lighbulbs. | No. | 9
Eelctricity Meter
11 | Recharger Prepaid Electricity meter, complete | No. | 1
Budgetary Allowances
12 | Allow a budgetary allowance of R 15000 (Fifteen Thousand Rand) for the electrical check and
| compliance, rewiring, DB | Item |  | 15000 | 15000
TOTAL CARRIED TO SUMMARY
NO.10
K | PAINTWORK
PREPARATORY WORK TO EXISTING WORK
Previously painted plastered surfaces.
Interior:
Interior surfaces shall be thoroughly washed down and allowed to dry completely
before any paint is applied.Blistered or peeling paint shall be completely removed and
cracks shall be opened,filled with suitable filler and finished smooth.Prepare interior
walls,fills cracks with SABS approved filler and make good.Paint to be applied
according to manufacturers specifications.
Walls
1 | Unpainted plastered surfaces with masonary plaster primer | m² | 20
2 | Two coats Plascon Easy Living Multi Surface Sheen, White. Apply according to manufacturer's specification | m² | 133
Ceiling and Beams
3 | One coat clear varnish to yellow wood beams | m | 78
4 | One coat matt clear varnish to reed ceiling | m² | 80
Door and Door Frames
5 | One coat wood primer and two coats oil based paint to doors and door frame, White | No. | 3
Chimney
6 | Inside walls to chimneys washable paint black, matt | m² | 6
Cape Dutch Skirting
7 | One coat wood primer, two coats oil-based, Brown Build-It BIHGL-DBN-001 0R | m | 60
Exterior
Previously painted plastered services
External wall cracks 1mm to be filled with approved crack filler
Paint to be applied according to manufacturer's specification
Blistered or peeling paint shall be completely removed and cracks shall be opened,
filled with suitable filler and smooth finish.
Walls
8 | Unpainted plastered surfaces with masonary plaster primer | m² | 34
9 | Two coats Plascon Micatex White | m² | 156
Front stoep Lay-stone tiles
10 | Two coats suitable clear stone sealer | m² | 6
Doors and Door Frames
Prepare accordingly, sand down to smooth finish. Paint applied to manufacturer's specifications.
Colour: Plascon Monsoon Lagoon G5-E1-1
11 | Timber doors 813x2032 one coat wood primer, two coats oil-based paint | No. | 3
Window and Window Frames
12 | One coat wood primer and two coats oil-based paint to windows and window frames. | No. | 8
Lintels
13 | One coat wood primer and two coats oil based paint to window and doors lintels | No. | 12
BURGLAR BARS AND GATES
Prepare accordingly and apply according to manufacturers specifications. Apply 1 coat NS 5 primer, 2 coats Dulux Black oil-based metal paint
Burglar bars
14 | 1600mm x 1215mm | No. | 1
15 | 1600mm x 1230mm | No. | 1
16 | 1220mm x 830mm | No. | 1
17 | 1580mm x 1220mm | No. | 1
18 | 900mm x 620mm | No. | 1
19 | 1580mm x 1230mm | No. | 1
20 | 1230mm x 830mm | No. | 1
21 | 2005mm x 915mm | No. | 1
22 | 970mm x 600mm | No. | 1
Burglar Gate
23 | Single gate 1290mm x 895mm | No. | 1
TOTAL CARRIED TO SUMMARY
NO.11
L | THATCH ROOF
Budgetary Allowance
Allow a budgetary allowance of R 25 000,00 (Twenty Five Thousand Rand) for the
1 | maintenance to existing thatch, including fire retardent application, with certificate of compliance, | m² | 112 | 25000 | 25000
replacement of cement capping complete
TOTAL CARRIED TO SUMMARY

## SUMMARY
PROJECT DETAILS: RESTORATION OF KATY'S COTTAGE, GOEDE RUST FARM
DURATION OF PROJECT: 6 WEEKS
PROJECT LEADER: SOUTH AFRICAN HERITAGE RESOURCES AGENCY
ITEM | SUMMARY | AMOUNT
A | PRELIMINARIES & GENERAL
B | ALTERATIONS
C | CONCRETE WORK
D | CARPENTRY AND JOINERY
E | GLAZING
F | IRONMONGERY
G | METAL WORK
H | TILING
I | PLUMBING AND DRAINAGE
J | ELECTRICAL
K | PAINTWORK
L | THATCHING
SUB TOTAL
CONTINGENCY @ 10%
TOTAL
VAT 15%
FINAL OFFER